## WEEK1
MONTH: NOVEMBER WEEK: 1
[5 empty] | STARTUP: |  |  | SHUTDOWN:
RIX TYPE | RIX START UP | RIX SHUT DOWN | TOTAL | VOLUME PRODUCED(m³) | PROD. RATE m³/Hr |  |  | GENERATING SET READING
A | 903.5 | 950.8 | 47.3 | 759.5 | 16.0571 |  |  | Start Nill | Stop Nill | Total | Diesel
B | [10 empty] | RATE (1tr/hr)
GEN TANK OPENING STOCK
Production Hourly output |  |  |  | 16.0571 |  |  |  |  | GEN TANK CLOSING STOCK
Total Production for the week(m³) |  |  |  | 759.5 |  | PHCN READING
Useful volume(m³) |  |  |  | 759.5 |  | Start | Stop | Total | Start2 | Stop3 | Total2
Corporate volume |  |  |  | Nill |  | Kva | Kva |  | Kwh | Kwh
TP volume |  |  |  | Nill |  |  |  |  | 2188039 | 2191641 | 3602
Medical volume(m³) |  |  |  | 759.5
Total complain volume treated for the week |  |  |  | Nill
Total volume of bad valve cylinder filled for the week |  |  |  | Nill
Total volume delivered to sales department for the week(m³) |  |  |  | 759.5 |  |  | SIZE m³ | QTY | VOLUME(m³)
Total volume of unfinished product with production |  |  |  | Nill |  |  | 10
Total number of cylinders filled |  |  |  | 291 |  |  | 7.5 | 1 | 7.5
Total down time for the week(hrs) |  |  |  | 132.4 |  |  | 7 | 8 | 56
Total empty volume handed to production(m³) |  |  |  | 759.5 |  |  | 6 | 38 | 228
Total empty cylinders handed to production |  |  |  | 291 |  |  | 4 |  | 0
Total number of bad cylinder filled |  |  |  | Nill |  |  | 3 | 11 | 33
Total filled cylinders handed back to sales |  |  |  | 291 |  |  | 2 | 202 | 404
Total Rix running hours(hrs) |  |  |  | 47.3 |  |  | 1 | 31 | 31
Average Rix Hours worked(hrs) |  |  |  | 23.65 |  |  | TOTAL | 291 | 759.5
Date
Vol.
Targ. Vol.
DOWNTIME ANALYSIS:
RIX A
DATE | HOURS(hrs) | REASONS
2019-01-11 | 18.3 | Lack of empty cylinders and power failure
2019-02-11 | 23 | Satisfactory
2019-04-11 | 15.4 | Lack of empty cylinders and power failure
2019-05-11 | 20 | Satisfactory
2019-06-11 | 11.8 | Lack of empty cylinders and power failure
2019-07-11 | 8.1 | Lack of empty cylinders and power failure
2019-08-11 | 15.1 | Lack of empty cylinders and power failure
2019-09-11 | 20.7 | Satisfactory
TOTAL
RIX B
DATE | HOURS | [5 empty] | KEY OPERATIONAL CHALLENGES : Inavaliabity of empty cylinder
SUGGESTED SOLUTIONS
Inventory department need to acertain and get ready the numbers of cylinder needed for the following day production before COB
TOTAL
PREPARED BY Olaniran Job

## WEEK 2
MONTH: NOVEMBER WEEK: 2
[5 empty] | STARTUP: |  |  | SHUTDOWN:
RACKS | RIX START UP | RIX SHUT DOWN | TOTAL | VOLUME PRODUCED(m³) | PROD. RATE m³/Hr |  |  | GENERATING SET READING
A | 961.6 | 998 | 36.4 | 554 | 15.2198 |  |  | Start | Stop | Total | Diesel
B | [10 empty] | RATE (1tr/hr)
GEN TANK OPENING STOCK
Production Hourly output(hrs) |  |  |  | 15.2198 |  |  |  |  | GEN TANK CLOSING STOCK
Total Production for the week(m³) |  |  |  | 554 |  | PHCN READING
Useful volume(m³) |  |  |  | 554 |  | Start | Stop | Total | Start2 | Stop3 | Total2
Corporate volume |  |  |  | Nill |  | Kva | Kva |  | Kwh | Kwh
TP volume |  |  |  | Nill
Medical volume(m³) |  |  |  | 554
Total complain volume treated for the week |  |  |  | Nill
Total volume of bad valve cylinder filled for the week |  |  |  | Nill
Total volume delivered to sales department for the week(m³) |  |  |  | 554 |  |  | SIZE m³ | QTY | VOLUME(m³)
Total volume of unfinished product with production |  |  |  | Nill |  |  | 10
Total number of cylinders filled |  |  |  | 206 |  |  | 7.5 | 10 | 75
Total down time for the week(hrs) |  |  |  | 82.7 |  |  | 7 | 14 | 98
Total empty volume handed to production(m³) |  |  |  | 554 |  |  | 6 | 6 | 36
Total empty cylinders handed to production |  |  |  | 206 |  |  | 4 |  | 0
Total number of bad cylinder filled |  |  |  | Nill |  |  | 3 | 8 | 24
Total filled cylinders handed back to sales |  |  |  | 206 |  |  | 2 | 153 | 306
Total Rix running hours(hrs) |  |  |  | 36.4 |  |  | 1 | 15 | 15
Average Rix Hours worked(hrs) |  |  |  | 18.2 |  |  | TOTAL | 206 | 554
Date
Vol.
Targ. Vol.
DOWNTIME ANALYSIS:
RIX A
DATE | HOURS(hrs) | REASONS
2019-11-11 | 22.5 | Satisfactory
2019-12-11 | 20 | Satisfactory
13/11/2019 | 14.1 | Inadequate Empty Cylinder and power failure
14/11/2019 | 16.5 | Inadequate Empty Cylinder and power failure
15/11/2019 | 9.6 | Inadequate Empty Cylinder and power failure
16/11/2019 | 10.2 | Inadequate Empty Cylinder and power failure
TOTAL
RIX B
DATE | HOURS | [5 empty] | KEY OPERATIONAL CHALLENGES : Inavaliabity of empty cylinder
SUGGESTED SOLUTIONS
Inventory department need to acertain and get ready the numbers of cylinder needed for the following day production before COB
TOTAL
PREPARED BY Olaniran Job

## WEEK 3
MONTH: NOVENMBER WEEK: 3
[5 empty] | STARTUP: |  |  | SHUTDOWN:
RACKS | RIX START UP | RIX SHUT DOWN | TOTAL | VOLUME PRODUCED(m³) | PROD. RATE m³/Hr |  |  | GENERATING SET READING
A | 998 | 1037.8 | 39.8 | 526 | 13.2161 |  |  | Start | Stop | Total | Diesel
B | [10 empty] | RATE (1tr/hr)
GEN TANK OPENING STOCK
Production Hourly output |  |  |  | 13.2161 |  |  |  |  | GEN TANK CLOSING STOCK
Total Production for the week(m³) |  |  |  | 526 |  | PHCN READING
Useful volume(m³) |  |  |  | 526 |  | Start | Stop | Total | Start2 | Stop3 | Total4
Corporate volume |  |  |  | Nill |  | Kva | Kva |  | Kwh | Kwh
TP volume |  |  |  | Nill
Medical volume(m³) |  |  |  | 526
Total complain volume treated for the week |  |  |  | Nill
Total volume of bad valve cylinder filled for the week |  |  |  | Nill
Total volume delivered to sales department for the week(m³) |  |  |  | 526 |  |  | SIZE m³ | QTY | VOLUME(m³)
Total volume of unfinished product with production |  |  |  | Nill |  |  | 10
Total number of cylinders filled |  |  |  | 221 |  |  | 7.5
Total down time for the week(hrs) |  |  |  | 84.7 |  |  | 7 | 9 | 63
Total empty volume handed to production(m³) |  |  |  | 526 |  |  | 6 | 12 | 72
Total empty cylinders handed to production |  |  |  | 221 |  |  | 4 |  | 0
Total number of bad cylinder filled |  |  |  | Nill |  |  | 3 | 12 | 36
Total filled cylinders handed back to sales |  |  |  | 221 |  |  | 2 | 167 | 334
Total Rix running hours(hrs) |  |  |  | 39.8 |  |  | 1 | 21 | 21
Average Rix Hours worked(hrs) |  |  |  | 19.9 |  |  | TOTAL | 221 | 526
Date
Vol.
Targ. Vol.
DOWNTIME ANALYSIS:
RIX A
DATE | HOURS(hrs) | REASONS
2019-11-18 | 12.7 | Replacement of Rix A oil filter
2019-11-19 | 12.7 | Inadequate Empty Cylinder and power failure
2019-11-20 | 15.3 | Inadequate Empty Cylinder and power failure
2019-11-21 | 18.7 | Inadequate Empty Cylinder and power failure
2019-11-22 | 2.8 | Inadequate Empty Cylinder and power failure
2019-11-23 | 22.5 | Satisfactory
TOTAL
RIX B
DATE | HOURS | [5 empty] | KEY OPERATIONAL CHALLENGES : Inavaliabity of empty cylinder and Rix breakdown
SUGGESTED SOLUTIONS
Inventory department need to acertain and get ready the numbers of cylinder needed for the following day production before COB
TOTAL
PREPARED BY Olaniran Job

## WEEK 4
MONTH: NOVEMBER WEEK: 4
[5 empty] | STARTUP: |  |  | SHUTDOWN:
RACKS | RIX START UP | RIX SHUT DOWN | TOTAL(hrs) | VOLUME PRODUCED(m³) | PROD. RATE m³/Hr |  |  | GENERATING SET READING
A | 1037.8 | 1075.6 | 37.8 | 483 | 12.7778 |  |  | Start | Stop | Total | Diesel
B | [10 empty] | RATE (1tr/hr)
GEN TANK OPENING STOCK
Production Hourly output |  |  |  | 12.7778 |  |  |  |  | GEN TANK CLOSING STOCK
Total Production for the week(m³) |  |  |  | 483 |  | PHCN READING
Useful volume(m³) |  |  |  | 483 |  | Start | Stop | Total | Start2 | Stop3 | Total 2
Corporate volume |  |  |  | Nill |  | Kva | Kva |  | Kwh | Kwh
TP volume |  |  |  | Nill
Medical volume(m³) |  |  |  | 483
Total complain volume treated for the week |  |  |  | Nill
Total volume of bad valve cylinder filled for the week |  |  |  | Nill
Total volume delivered to sales department for the week(m³) |  |  |  | 483 |  |  | SIZE m³ | QTY | VOLUME(m³)
Total volume of unfinished product with production |  |  |  | Nill |  |  | 10
Total number of cylinders filled |  |  |  | 238 |  |  | 7.5 | 2 | 15
Total down time for the week(hrs) |  |  |  | 106.2 |  |  | 7 | 1 | 7
Total empty volume handed to production(m³) |  |  |  | 483 |  |  | 6 |  | 0
Total empty cylinders handed to production |  |  |  | 238 |  |  | 4 |  | 0
Total number of bad cylinder filled |  |  |  | Nill |  |  | 3 | 7 | 21
Total filled cylinders handed back to sales |  |  |  | 238 |  |  | 2 | 212 | 424
Total Rix running hours(hrs) |  |  |  | 37.8 |  |  | 1 | 16 | 16
Average Rix Hours worked(hrs) |  |  |  | 18.9 |  |  | TOTAL | 238 | 483
Date
Vol.
Targ. Vol.
DOWNTIME ANALYSIS:
RIX A
DATE | HOURS(hrs) | REASONS
25/11/19 | 12.6 | Inadequate Empty Cylinder and power failure
26/11/19 | 16.1 | Inadequate Empty Cylinder and power failure
27/11/19 | 17.2 | Inadequate Empty Cylinder and power failure
28/11/19 | 21.5 | Satisfactory
29/11/19 | 16.5 | Inadequate Empty Cylinder and power failure
30/11/19 | 22.3 | Satisfactory
TOTAL
RIX B
DATE | HOURS | [5 empty] | KEY OPERATIONAL CHALLENGES : Inavaliabity of empty cylinder
SUGGESTED SOLUTIONS
Inventory department need to acertain and get ready the numbers of cylinder needed for the following day production before COB
TOTAL
PREPARED BY Olaniran Job

## NOVEMBER
LAGOS OPERATION PRODUCTION/TECHNICAL REPORT FOR NOVEMBER 2019
From: | Technical Officer
To: | General Manager Operations
Subject: | Lagos Operation November Production Report
Date:
A | GENERAL SUMMARY OF PERFORMANCE:
B | DETAILS OF MONTHLY PERFORMANCE (Oxygen Production & Rix Operations)
| Items | October | November | % Increase/Decrease
| Budgeted volume | 13162.5 | 12656.25 | -4
| Actual prod. Vol. (m³) | 3166.5 | 2322.5 | -36.3402
| % Ahvmt | 24.06 | 18.3506 | -31.1128
| Medical prod. Vol.(m³) | 3166.5 | 2322.5 | -36.3402
| Corporate prod. Vol.(m³) | 0 | 0 | #DIV/0!
| Third party prod. Vol.(m³) | 0 | 0 | #DIV/0!
| Rix A Budgetted Running Hrs | 585 | 562.5 | -4
| Rix A Hrs of Running (Actual) | 101.3 | 172.1 | 41.1389
| % Ahvmt | 17.3 | 30.5956 | 43.4558
| Rix B Budgetted Running Hrs | 585 | 562.5 | -4
| Rix B Hrs of Running (Actual) | 92.7 | Nil | #VALUE!
| % Ahvmt | 15.8 | #VALUE! | #VALUE!
| Total Rix Running Hrs (A+B) | 194 | 172.1 | -12.7252
| Average Running Hours (A+B) | 97 | 86.05 | -12.7252
| Cylinders received from Jos | 1212
| Volume received from jos | 7940
| CYLINDER DETAILS | RATE |  | Cylinder sizes filled | QTY
| Total no. of Cyls. Filled | 956 |  | 10m³ | 0
| Total Volume filled (m³) | 2322.5 |  | 7.5m³ | 13
| Total no. of Cyls. Transferred to Production | 956 |  | 7m³ | 32
| Total vol. transferred to production (m³) | 2322.5 |  | 6m³ | 56
| Total no. of cyls. Transferred to sales | 956 |  | 4m³ | 0
| Total vol. transferred to sales (m³) | 2322.5 |  | 3m³ | 38
| Total no. of Bad valve cyls. Filled | Nill |  | 2m³ | 734
| Production hourly filling Rate(m³/hr) | 13.4951 |  | 1m³ | 83
|  |  |  | TOTAL | 956
E | MAINTENANCE MATTERS:
| Date | Mtce. Works undertaken |  | Spare parts, Items & Fabrication works undertaken
|  |  |  | part name | part no | Quantity | Done by contractor
| 18/11/2019 | Replacement of Rix A oil filter |  | Oil filter |  | 1
DOWNTIME ANALYSIS
| RIX A |  | 12.7
RIX B
MAINTENANCE
| NO CYLINDER DOWNTIME/ NO POWER |  | 374.6
| AVG.NO CYLINDER DOWNTIME/NO POWER |  | 187.3
| TOTAL |  | 574.6
| ENERGY ANALYSIS |  | October | November | % INCREASE/ DECREASE
| Budgeted PHCN Kwh |  | 39414.38 | 37898.44 | -4
| PHCN Kwh consumed (Actual) |  | 16297 | 14953 | -8.9882
| Amount in =N=@=N=38.38/Kwh |  | 656752.8 | 602590.25 | -8.9883
| Budget Diesel Consumed (Litres) |  | 400 | 400 | 0
| Actual Diesel Consumed ( Litres) |  | 200 |  | #DIV/0!
| Actual amount in =N=@230/litres |  | 44000 |  | #DIV/0!
| Generator hours of operation |  | 21.4 | 18.8 | -13.8298
| Energy cost/m³ |  | 221.3 |  | #DIV/0!
STAFF MATTERS:
CONCLUSION:
| PREPARED BY Olaniran Job |  |  |  | Sign:
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.